## Slide 1: DASMA Thermal Performance Verification Program

## Slide 2: Introduction
DASMA Sponsors a Thermal Performance Verification Program for Sectional Garage Doors
The Most Influential Manufacturers That Produce Insulated Sectional Doors, Representing the Overwhelming Majority of Sales, are Participating
Significant Effort Over Many Years was Invested to Design and Implement the Program

## Slide 3: Introduction
The Program Represents a Shift in How Sectional Garage Door Thermal Performance is Rated
All Participants and DASMA Have Agreed to Migrate to Use of U-Factor Instead of R-Value
The Program Also Enlists Third Party Test Labs and an Independent Program Administrator

## Slide 4: Why Have a Program?
The Garage Door Industry Needs to Provide Credible Thermal Performance Ratings
Everyone-Manufacturers, Specifiers, Customers, and Dealers - benefits from uniform and consistently applied rating methods
As With Windload, Enforcement is Coming
The Industry Can Control Its Own Destiny

## Slide 5: Why Verified U-Factor?
U-Factor is an Actual, Tested Thermal Performance Measurement
Architects and Specifiers are familiar with U-Factor
U-Factor is used by related industries: Windows, Entry Doors, Skylights

## Slide 6: Why Verified U-Factor?
U-Factor and Credible, Verified Ratings are expected to be required in the future
U-Factor is a more accurate way to rate thermal performance than the currently used R-Value
  Tested with U vs Calculated with R
  Whole Installed Assembly with U vs Portion of Section Insulation with R
  Equitable Basis for Comparison
Third Party Testing & Verification Lends Credibility

## Slide 7: What is U-Factor?
U-Factor is a measurement of heat transfer or flow through, in our case, a garage door
Higher heat transfer is generally “bad” as it results in greater loss of energy, either from heated or cooled air
A lower U-Factor, which indicates less heat transfer, is better than a higher U-Factor

## Slide 8: How is U-Factor Determined?
U-Factor is measured in a specialized chamber
An assembled door is sealed in the chamber opening
Heat transfer through the door is measured with sensitive equipment
Test requirements and procedures are contained in the ANSI/DASMA 105 standard

## Slide 9: How is U-Factor Different From and Better Than Other Thermal Ratings
R-Value is resistance to heat transfer. It is not the inverse of U-Factor (in our industry) R-Value ≠1/U-Factor
R-Value represents only a small portion of insulation in a garage door section, not an entire assembled door

## Slide 10: How is U-Factor Different From and Better Than Other Thermal Ratings
R-Factor and U-Value are just calculations, not real rating methods, and have no technical basis
U-Factor is an actual test of a whole, installed door, not just a calculation based on a small portion of a door

## Slide 11: Participant Ratings
Participants in the DASMA Thermal Performance Verification Program:
  must publish a U-Factor for all highly thermally efficient sectional doors
  may publish, but are not required to publish, an R-Value
  are not permitted to use any other means of stating thermal performance for any door, listed in the program or not

## Slide 12: What Doors Are Covered?
Only Sectional Doors
Highly Thermally Efficient Sectional Doors Must be Listed. These Doors Have
  an insulated core
  a meeting rail design that incorporates a thermal break
  glazing cutouts of 16% or less of the total door surface area
Other sectional doors may be listed in the program, as well

## Slide 13: Program Requirements for Participants
Participants in the Program:
  Sign Agreements to Enter the Program
  Conduct Tests at Third Party Test Labs Using ANSI/DASMA 105
  Certify Thermal Performance for Door Models Entered in the program
  Submit Tests and Certifications to the Program Administrator
  Abide by All Program Rules

## Slide 14: Program Requirements for Participants
Intertek Serves as the Program Administrator
  Collects Certifications and Test Reports
  Publishes Directory of Listed Models
  Verifies Continued Compliance with Program Rules Through Regular Audits
DASMA Owns the Program and Provides Administrative and Governance Support

## Slide 15: Program Mark
INSERT SMALLER VERSION OF MARK WHEN COMPLETE
Used only by DASMA and Participants

## Slide 16: Program Mark
Indicates Participation in Program
Can Be Used to Identify Listed Products
There are Regulations Governing Proper Use
  Cannot be used with non-listed products
  Can only be used if all program requirements are met

## Slide 17: Program Mark
Two Versions, Related Styles
Look for the DASMA program mark to confirm legitimate thermal performance, verified by 3rd party independent testing labs

## Slide 18: Program Temporary Product Label
Optional
Placed on Sections Only
Not Permitted on Packaging
May Include R-Value as Shown on Example

## Slide 19: Program Temporary Product Label
UPDATE WITH FINAL LABELS